EPICS Qt at GitHub

# Introduction
NOTE: We are still preparing the GitHub repositories including this documentation. An announcement will be made on tech-talk in due course when we are ready.
# Structure
This describes how the repositories at GitHub are organised.
The transfer of the EPICS Qt framework from SourceForge to GitHub has been an ideal opportunity for a few organisational changes. These are outlined below. There have been no functionality changes per se.
The major change is that EPICS Qt has been split into a number of components, each managed in its own GitHub repository.
The two primary repositories are the QE Framework repository which provide the framework plugin library and the QEGui Display Manager repository which provides the qegui display manager. The documentation is included within the qeframework repository.
The other repositories are optional, and basically provide examples of using or extending the framework.
QE Monitor
QE Read Archive
QE Widget Display
QE Example Plugin
QE Byte Array Test

There is no longer an epicsqt.pro overall project file to build all sub projects. Each repository still has its own project file, e.g. framework.pro, QEGuiApp.pro, and these may be opened by qtcreator in order to build each component as could be done previously.
However, each component is now located within its own <top> directory that allows the component to be readily (and headlessly) built in a much more EPICS-like fashion by just calling make from within the top directory. Under-the-covers, the component's application directory's own Makefile essentially invokes qmake and then make on the generated Makefile.
In the case of qeframework, the include files are placed in <top>/include and the shared library/dll file is place in <top>/lib/<epics_host_arch>. In the case of qegui, this is located in <top>/bin/<epics_host_arch>. The use of the environment variable QE_TARGET_DIR may still be used to override this.
Each code repository has a an r3.4.2 tag which corresponds to SourceForge 3.4.2 release.

# License
The EPICS QT Framework is free software: you can redistribute it and/or modify it under the terms of the GNU Lesser General Public License as published by the Free Software Foundation, either version 3 of the License, or (at your option) any later version.
The EPICS QT Framework is distributed in the hope that it will be useful, but WITHOUT ANY WARRANTY; without even the implied warranty of MERCHANTABILITY or FITNESS FOR A PARTICULAR PURPOSE. See the GNU Lesser General Public License for more details.
You should have received a copy of the GNU Lesser General Public License along with the EPICS QT Framework. If not, see https://www.gnu.org/licenses/.

# Prerequisites for EPICS Qt
### Install/build EPICS
Please visit the EPICS web page for details.
### Install Qt
At least version 4.6. Versions 4.6, 4.8, 5.6 and 5.7 have been successfully used at the Australian Synchrotron.
### Install QWT
The version must be compatible with your version of Qt.
### Example Configurations
The following configuration combination have recently been built.
Host OS	Compiler	EPICS HOST ARCH	EPICS	QWT	QT	EpicsQt
CentOS Linux release 7.3.1611	g++ (GCC) 4.8.5	linux-x86_64	3.15.5	6.1.3	5.7.1	3.4.2
CentOS release 6.8	g++ (GCC) 4.8.2	linux-x86_64	3.14.12.4	5.1.1	4.6.2	3.3.1
CentOS Linux release 7.3.1611	g++ (GCC) 4.8.5	linux-x86_64	3.14.12.4	6.1.1	4.8.5	3.3.1
CentOS release 6.8	g++ (GCC) 4.8.2	linux-x86	3.14.12.4	5.1.1	4.6.2	3.3.1
CentOS release 6.9	g++ (GCC) 4.4.7	linux-x86_64	3.15.5	5.1.1	4.8.4	3.4.2
Windows 7	g++ (i686-posix-dwarf-rev1, Built by MinGW-W64 project) 4.9.2	win32-x86-mingw	3.14.12.4	6.1.3	5.6	3.4.2

# Getting Started - Headless Build
There is some useful information in QE_GettingStarted.pdf, however this document still refers to the old structure and to SourceForge as the source.
The commands shown here illustrate downloading and building epicsQt in the directory /home/user/qtepics. This is just for the purposes of providing example commands. You are free to to down load and install anywhere on your system.
Note: This instructions are currently Linux-centric, but hopefully Window's users will have no trouble translating to the Window's equivalent.
Download source code and documentation
Clone the framework and the qegui repositories.
   mkdir /home/user/qtepics
   cd /home/user/qtepics
   git clone https://github.com/qtepics/qeframework.git
   git clone https://github.com/qtepics/qegui.git

### RELEASE files
Modify /home/user/qtepics/qeframework/configure/RELEASE file such that:
   EPICS_BASE=<a reference your EPICS base>
Modify qegui/configure/RELEASE file such that:
   EPICS_BASE=<a reference your EPICS base>
   QE_FRAMEWORK=/home/user/qtepics/qeframework # example
### Environment Variables
Define EPICS_HOST_ARCH (e.g. export EPICS_HOST_ARCH=linux-x86_64)
Define QWT_INCLUDE_PATH (e.g. export QWT_INCLUDE_PATH=/usr/include/qwt)
Optional: Define QE_FFMPEG if mpeg streaming is required (on Windows, this must point to the FFMPEG directory; on Linux just being defined is sufficient).
Optional: Define QE_CAQTDM if integration of PSI's caQtDM into QEGui is required. If you want caQtDM integrated, download and build it and define the environment variable QE_CAQTDM to point to the caQtDM_Project directory.
### qmake
When used in headless mode, the qmake program is invoked to generate a Makefile. Ensure that your PATH environment variable results in required version of qmake being available. For some versions of Qt, the qmake program is know as qmake-qt4. In this case it will be necessary to "fake" it, e.g.:

   cd ${HOME}/bin
   ln -s /usr/bin/qmake-qt4 qmake
or something similar.
### MinGW compiler
If using the MinGW compiler, modify the /home/user/qtepics/qeframework/qeframeworkSup/project/framework.pro project file (approximately line 50) and un-comment the line:

  #DEFINES += _MINGW=TRUE
to be:
   DEFINES += _MINGW=TRUE
### Build
   cd /home/user/qtepics/qeframework
   make
   cd /home/user/qtepics/qegui
   make
# Getting Started - qtcreator Build
TBD

# Environment Variables
Build Time Environment Variables
EPICS_BASE - defines the location of EPICS base. For headless building, this is defined in the configure/RELEASE file, however when using qtcreator it must be explicitly defined.
EPICS_HOST_ARCH - defines the host architecture.
QWT_INCLUDE_PATH - defines the location of the QWT header files. Typically /usr/include/qwt on Linux.
QWT_ROOT - optional.
QE_TARGET_DIR - optional.
QE_FFMPEG - optional.
QE_FRAMEWORK - defines the location of the qeframework top directory, and is needed the qeframework clients such as qegui, but not for the framework itself. For headless building, this is defined in the configure/RELEASE file, however when using qtcreator it must be explicitly defined.
QE_CAQTDM - optional.
QE_CAQTDM_LIB - optional.
QTINC - Qt5
### Run Time Environment Variables
The following are all optional.

QE_UI_PATH – defines alternative/additional paths used when searching for a ui file.
QE_ARCHIVE_LIST - specifies a list of channel archive servers.
QE_ARCHIVE_PATTERN - pattern match applied when extracting PV list from the archivers.
QE_STRIPCHART_PREDEFINED_PVS - defines up to 10 space separated PV names that are added to the Strip Chart context menu.
QE_GLOBAL_STYLE_SHEET - defines a global style that is applied to the application.
QE_RECORD_FIELD_LIST - specifies a file that defines/replace the set of field names associated with each record type.
Running qegui -h provides further details about each of these environment variables.

As the EPICS Qt framework is a Channel Access client, thus the values assigned to:

  EPICS_CA_AUTO_ADDR_LIST,
  EPICS_CA_ADDR_LIST,
  EPICS_CA_MAX_ARRAY_BYTES,
  EPICS_CA_SERVER_PORT etc.

can affect the operation of this program. Please refer to EPICS R3.14 Channel
Access Reference Manual for details.

# Future Plans
### Complete Transition to GitHub
Tidy up documentation.
### Archive Appliance
In house work nearly complete, however this needs to be thoroughly tested on a number of Qt version / OS platform combination.
### Pre-Built Libraries and QEGui program
Provide a download and run capability.
### EPICS 4 Integration
One day ….

# Feed Back and Collaboration
TBD

# Credits
### Developers
Andrew Ryder, Glenn Jackson, Anthony Owen, Ricardo Fernandes, Andrew Starritt
### 3rd Party Software
Apart form EPICS base and Qt itself, the EPICS Qt framework used the following.
The EPICS Qt framework relies on QWT for plotting. https://sourceforge.net/projects/qwt/.
To access the Channel Access Archive data, the EPICS Qt framework relies on the maiaXmlRpcClient and support classes written by Frerich Raabe <raabe@kde.org>, Ian Reinhart Geiser <geiseri@kde.org>, Karl Glatz and Sebastian Wiedenroth <wiedi@frubar.net>.
When built with MPEG support, the EPICS Qt framework relies on FFmpeg for reading MPEG image streams. https://www.ffmpeg.org/ .
The QEGui application can be built to support caQtDM widgets provided by The Paul Scherrer Institute. https://epics.web.psi.ch/software/caqtdm/.